## Tool Navigation (hidden)
GBCSA - Existing Building Performance Rating Tool
ENE-1 Energy Consumption (GHGE) Tool
Tool Navigation
This is the ENE-1 Energy consumption calculator tool for existing building performance rating.
Input results in Office benchmark tool tab

## Tool (hidden)
GBCSA - Existing Building Performance Rating Tool
ENE-1 Energy Consumption (GHGE) Tool
Building Details | Energy Usage Inputs
Street Address | Number of occupants
Suburb
City
Province
Postal Code
Building Metrics
GLA
Occupancy Hours (per week)

## Compliance Path & Change Log
|  |  | Green Star SA - Existing Building Performance PILOT ENE-1 Energy Consumption (GHGE) Points Calculator | Sponsored by:
- Please see the 'Green Star SA - Existing Building Performance Energy Calculator Guide' for details on how to use this calculator
- Below is a summary of the four possible compliance paths based on building type |  |  |  |  | Last Update: 03 Nov 2014
Click corresponding shaded icon to select compliance path
Change Log:
| Reissue Date | Changes
| 2013-11-19 | Errors in energy consumption input cells corrected.
| 2014-02-01 | Compliance Path naming updated
| 2014-03-11 | Compliance Path 2 Normalising edited
| 2014-06-26 | Compliance Path 1 no longer requires this calculator to be completed
| 2014-10-30 | Point-scale adjusted to align with best practice achievement
| 2014-11-03 | Error in Compliance Path 2 scoring corrected
`
Calculator
Office?
Baseline
SANS?
Similar?
History?
Benchmark tool
Calculator
Calculator
Calculator
Calculator
Score
Score
Score
Score
Y
N
Y
Y
Y
N
N
Note on J7: Building Types with Energy Benchmarks under SANS 10400-XA, i.e: - Entertainment & Public Assembly - Theatrical & Indoor Sport - Places of Instruction - Worship - Large Shop - Hotel
Note on M7: Other building types where energy baseline data for similar buildings exist.
Note on O7: Building types which are not covered by either of the previous 3 options

## Compliance Route 1 (Offices)
| Green Star SA - Existing Building Performance PILOT |  |  |  | Sponsored by:
ENE-1 Energy Consumption (GHGE) Points Calculator
OFFICES INPUT SHEET
- This sheet applies to Office Buildings only
- Please enter below the results as achieved using the GBCSA Energy & Water Benchmarking Tool available |  | here
Building Details | Inputs
Street Address | Total Energy Usage |  |  | kWh/Annum
| Total Mains Electricity equivalent |  |  | kWh/Annum
| Total emissions |  |  | KgCO2/annum
Suburb
City | Results
Province | Energy intensity |  |  | kWh/m2/annum
Postal Code | Benchmark building energy intensity |  |  | kWh/m2/annum
| Total emissions |  |  | KgCO2/m2/annum
Building Metrics | Benchmark building total emission |  |  | KgCO2/m2/annum
GLA | Output score from GBCSA Energy and Water Benchmarking Tool
Occupancy Hours (per week) | ENE-1 Equivalent points |  | #N/A
Back to Compliance path tab
NO LONGER REQUIRED
Please see latest Energy & Water Benchmarking Tool where Ene-1 Score is calculated and shown

## Building Zone Breakdown (hidden)
GBCSA - Existing Building Performance Rating Tool
ENE-1 Energy Consumption (GHGE) Tool
Month | Zone Description | Description of area | Floor area (m²) | Annual vacancy (days) | Weekly operatinghours | Number of occupants | Number of computers | Energy source | Unit (kWh) | Fuel Factor
1
2
3
4
5
6
7
8
9
10
11
12

## Compliance Route 2 (SANS Bench)
|  | Green Star SA - Existing Building Performance PILOT ENE-1 Energy Consumption (GHGE) Points Calculator |  |  |  | Sponsored by:
SANS BENCHMARK INPUT SHEET
- This sheet applies to building types with Energy Benchmarks under SANS 10400-XA i.e Entertainment & Public Assembly, Theatrical & Indoor Sport, Places of Instruction, Worship, Large Shop & Hotel
- Please complete the grey cells below
Building Details
Street Address |  |  | Building Type
|  |  | Classification of occupancy of building | #N/A | [6 empty] | Occupancy (as per SANS 10400-XA)
|  |  | Climatic zone | [7 empty] | Class | Hours/day | Operating Hours %
Suburb |  |  | SANS Benchmark | #N/A | [6 empty] | A1 | 18 | 0%
City | [10 empty] | A2 | 18 | 0%
Province | [10 empty] | A3 | 12 | 0%
Postal Code | [10 empty] | A4 | 6 | 0%
[11 empty] | F1 | 12 | 0%
[11 empty] | G1 | 12 | 0%
Building Metrics |  |  | Effective (normalised) Annual Consumption of Building | [7 empty] | H1 | 24 | 0%
Building construction date | [8 empty] | Straight consumtion | Occ % | Operating Hours
GLA (m²) |  |  | kWh/m² | #N/A |  | SCORE |  | #N/A | #DIV/0! | 0% | #N/A
Average Percentage Occupancy |  |  | % Improvement | #N/A
Typical Peak Day Operating Hours
Month | Description | Start date | End date | Energy Source Type | Unit | Fuel Factor | Consumption | kWh Consumption
1
2
3
4
5
6
7
8
9
10
11
12
Note. If multiple sources of energy are used in a particular month, insert additional rows into the table and transfer formula from adjacent cells
Back to Compliance path tab
Note on E23: Normalised for occupancy and operating hours to align with SANS 10400-XA
Note on A24: Average occupancy percentage for the year averaged across entire floor area. I.e. for retail, it would be the average area tenanted over the year. For Public & Assembly it would be the average occupancy percentage for occupied hours in the year.

## Climate Zone
Green Star SA - Existing Building Performance PILOT ENE-1 Energy Consumption (GHGE) Points Calculator
Climatic Zone
BACK TO SANS

## Compliance Route 3 (Comparable)
|  | Green Star SA - Existing Building Performance PILOT ENE-1 Energy Consumption (GHGE) Points Calculator |  |  |  | Sponsored by:
'SIMILAR BUILDING' INPUT SHEET
- This sheet applies to building types that do not have SANS 10400-XA Energy Benchmarks, but where energy baseline data for similar buildings exist.
- Please complete the grey cells below
Compliance Route 3 = Energy consumption baseline from energy data from comparable buildings
Own Building Details:
Street Address
Suburb
City
Province
Postal Code
Building Metrics |  |  | Annual Consumption Baseline of Buildings
Type of building
Use of building |  |  | Own building | #DIV/0! | kWh/m²/hr/people/m2 |  | SCORE | #DIV/0!
Climate zone |  |  | Comparable building No.1 | #DIV/0!
Hours of operations |  |  | Comparable building No.2 | #DIV/0!
GLA (m²) |  |  | Comparable building No.3 | #DIV/0!
Construction material |  |  | Average performer | #DIV/0!
Occupancy rate (people/m²)
HVAC system |  |  | % Improvement | #DIV/0!
Age of building
Month | Description | Start date | End date | Energy Source Type | Unit | Fuel Factor | Consumption | kWh Consumption
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
Note. If multiple sources of energy are used in a particular month, insert additional rows into the table and transfer formula from adjacent cells
Back to Compliance path tab
Comparable Building No.1 Details:
Street Address
Suburb
City
Province
Postal Code
Building Metrics |  |  | Annual Consumption Baseline of Building
Type of building
Use of building |  |  | kWh/m²/hr/people/m2 | #DIV/0!
Climate zone
Hours of operations
GLA (m²)
Construction material
Occupancy rate (people/m²)
HVAC system
Age of building
Month | Description | Start date | End date | Energy Source Type | Unit | Fuel Factor | Consumption | kWh Consumption
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
Note. If multiple sources of energy are used in a particular month, insert additional rows into the table and transfer formula from adjacent cells
Back to the top
Comparable Building No.2 Details:
Street Address
Suburb
City
Province
Postal Code
Building Metrics |  |  | Annual Consumption Baseline of Building
Type of building
Use of building |  |  | kWh/m²/hr/people/m2 | #DIV/0!
Climate zone
Hours of operations
GLA (m²)
Construction material
Occupancy rate (people/m²)
HVAC system
Age of building
Month | Description | Start date | End date | Energy Source Type | Unit | Fuel Factor | Consumption | kWh Consumption
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
Note. If multiple sources of energy are used in a particular month, insert additional rows into the table and transfer formula from adjacent cells
Back to the top
Comparable Building No.3 Details:
Street Address
Suburb
City
Province
Postal Code
Building Metrics |  |  | Annual Consumption Baseline of Building
Type of building
Use of building |  |  | kWh/m²/hr/people/m2 | #DIV/0!
Climate zone
Hours of operations
GLA (m²)
Construction material
Occupancy rate (people/m²)
HVAC system
Age of building
Month | Description | Start date | End date | Energy Source Type | Unit | Fuel Factor | Consumption | kWh Consumption
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
Note. If multiple sources of energy are used in a particular month, insert additional rows into the table and transfer formula from adjacent cells
Back to the top

## Compliance Route 4 (Historical)
|  | Green Star SA - Existing Building Performance PILOT ENE-1 Energy Consumption (GHGE) Points Calculator |  |  |  | Sponsored by:
'HISTORICAL BASELINE' INPUT SHEET
- This sheet applies to building types which are not covered by the previous 3 options for benchmarking.
- Please complete the grey cells below
Option 2= Energy consumption baseline from historical energy data from own building
Own Building Details:
Street Address
Suburb
City
Province
Postal Code
Building Metrics |  |  | Annual Consumption Baseline of Building
Type of building
Use of building |  |  | Current year | #DIV/0! | kWh/m² | SCORE |  | 0
Climate zone |  |  | Baseline year | #DIV/0! | kWh/m²
Hours of operations
GLA (m²) |  |  |  |  | kWh/m²
Construction material |  |  | % Improvement | #DIV/0!
Occupancy rate (people/m²)
HVAC system
Age of building
Baseline Year:
Month | Description | Start date | End date | Energy Source Type | Unit | Fuel Factor | Consumption | kWh Consumption
(Past Baseline) 1
2
3
4
5
6
7
8
9
10
11
12
Performance Period:
Month | Description | Start date | End date | Energy Source Type | Unit | Fuel Factor | Consumption | kWh Consumption
(Performance) 1
2
3
4
5
6
7
8
9
10
11
12
Back to Compliance path tab

## Results
Green Star SA - Existing Building Performance PILOT ENE-1 Energy Consumption (GHGE) Points Calculator
RESULTS
Compliance path selected
Building Details
Street Address
Suburb
City
Province
Postal Code
Building Metrics
Building construction date |  | ENE-1 Energy consumption Score
GLA (m²)
Back to Compliance path tab

## Misc (hidden)
Energy source | Fual factor | kgCO2/kWh | Unit | convertion to kWh
Electricity | 1.2 |  | kWh | 1
Distillate Fuel (No1,2,4 fuel oil and diesel) | 0.27 |  | L | 11.69
Residual Fuel Oil (No5 and 6 fuel oil) | 0.27 |  | L | 11.69
LPG | 0.23 |  | GJ | 277.7778
Propane | 1 |  | GJ | 277.7778
Natural Gas | 0.03 |  | GJ | 277.7778
Bituminous Coal | 0.35 |  | Tonnes | 1162.2222
Sub-bituminous Coal | 0.35 |  | Tonnes | 1162.2222
SANS Building Types (kWh) | [8 empty] | SANS Building Types (kVA) MAX DEMAND
|  | 1 | 2 | 3 | 4 | 5 | 6 |  |  |  | 1 | 2 | 3 | 4 | 5 | 6
Entertainment and public assembly | A1 | 420 | 400 | 440 | 390 | 400 | 420 |  | Entertainment and public assembly | A1 | 85 | 80 | 90 | 80 | 80 | 85
Theatrical and indoor sport | A2 | 420 | 400 | 440 | 390 | 400 | 420 |  | Theatrical and indoor sport | A2 | 85 | 80 | 90 | 80 | 80 | 85
Places of instruction | A3 | 420 | 400 | 440 | 390 | 400 | 420 |  | Places of instruction | A3 | 80 | 75 | 85 | 75 | 75 | 80
Worship | A4 | 120 | 115 | 125 | 110 | 115 | 120 |  | Worship | A4 | 80 | 75 | 85 | 75 | 75 | 80
Large shop | F1 | 240 | 245 | 260 | 240 | 260 | 255 |  | Large shop | F1 | 90 | 85 | 95 | 85 | 85 | 90
Offices | G1 | 200 | 190 | 210 | 185 | 190 | 200 |  | Offices | G1 | 80 | 75 | 85 | 75 | 75 | 80
Hotel | H1 | 650 | 600 | 585 | 600 | 620 | 630 |  | Hotel | H1 | 90 | 85 | 95 | 85 | 85 | 90
Climatic zone
1
2
3
4
5
6
Building construction date
Buildings built before November 2011
Buildings built after November 2011
SANS Score |  |  |  | MAX DEMAND
Percentage better than SANS Benchmark | Points achieved
| Buildings built before November 2011 | Buildings built after November 2011 | Percentage better than SANS Benchmark | Buildings built before November 2011 | Buildings built after November 2011
0% | 2 | 2 | 0 | 0.5 | 0 |  |  | 0 | 0 |  | 1: 0
1.25% | 2.5 | 2.5 | 5 | 1 | 0.5 |  |  | 0.003125 | 0.71429 |  | 1: 0.89286
2.5% | 3 | 3 | 10 | 1.5 | 1 |  |  | 0.00625 | 1.4286 |  | 1: 1.7857
3.75% | 3.5 | 3.5 | 15 | 1.5 | 1 |  |  | 0.009375 | 2.1429 |  | 1: 2.6786
5% | 4 | 4 | 20 | 2 | 2 |  |  | 0.0125 | 2.8571 |  | 1: 3.5714
6.25% | 4.5 | 4.5 | 25 | 2 | 2 |  |  | 0.015625 | 3.5714 |  | 1: 4.4643
7.5% | 5 | 5 | 30 | 2 | 2 |  |  | 0.01875 | 4.2857 |  | 1: 5.3571
8.75% | 5.5 | 5.5 | 35 | 2 | 2 |  |  | 0.021875 | 5 |  | 1: 6.25
10% | 6 | 6 | 40 | 2 | 2 |  |  | 0.025 | 5.7143 |  | 1: 7.1429
11.25% | 6.5 | 6.5 | 45 | 2 | 2 |  |  | 0.028125 | 6.4286 |  | 1: 8.0357
12.5% | 7 | 7 | 50 | 2 | 2 |  |  | 0.03125 | 7.1429 |  | 1: 8.9286
13.75% | 7.5 | 7.5 | 55 | 2 | 2 |  |  | 0.034375 | 9.8214 |  | 1: 9.8214
15% | 8 | 8 | 60 | 2 | 2 |  |  | 0.0375 | 10.7143 |  | 1: 10.7143
12.5% | 8.5 | 8.5 | 65 | 2 | 2 |  |  | 0.03125 | 8.9286 |  | 1: 8.9286
20% | 9 | 9 | 70 | 2 | 2 |  |  | 0.05 | 14.2857 |  | 1: 14.2857
22.5% | 9.5 | 9.5 | 75 | 2 | 2 |  |  | 0.05625 | 16.0714 |  | 1: 16.0714
25% | 10 | 10 | 80 | 2 | 2 |  |  | 0.0625 | 17.8571 |  | 1: 17.8571
27.5% | 10.5 | 10.5 | 85 | 2 | 2 |  |  | 0.06875 | 19.6429 |  | 1: 19.6429
30% | 11 | 11 | 90 | 2 | 2 |  |  | 0.075 | 21.4286 |  | 1: 21.4286
32.5% | 11.5 | 11.5 | 95 | 2 | 2 |  |  | 0.08125 | 23.2143 |  | 1: 23.2143
35% | 12 | 12 | 100 | 2 | 2 |  |  | 0.0875 | 25 |  | 1: 25
37.5% | 12.5 | 12.5
40% | 13 | 13
42.5% | 13.5 | 13.5
45% | 14 | 14
47.5% | 14.5 | 14.5
50% | 15 | 15
52.5% | 15.5 | 15.5
55% | 16 | 16 | [5 empty] | 0.1375 | 0 |  | 1: 0
57.5% | 16.5 | 16.5 | [5 empty] | 0.14375 | -1 |  | 1: -0.90909
60% | 17 | 17 | [5 empty] | 0.15 | -2 |  | 1: -1.8182
62.5% | 17.5 | 17.5 | [5 empty] | 0.15625 | -3 |  | 1: -2.7273
65% | 18 | 18 | [5 empty] | 0.1625 | -4 |  | 1: -3.6364
67.5% | 18.5 | 18.5 | [5 empty] | 0.16875 | -5 |  | 1: -4.5455
70% | 19 | 19 | [5 empty] | 0.175 | -6 |  | 1: -5.4545
72.5% | 19.5 | 19.5 | [5 empty] | 0.18125 | -7 |  | 1: -6.3636
75% | 20 | 20 | [5 empty] | 0.1875 | -8 |  | 1: -7.2727
77.5% | 20.5 | 20.5 | [5 empty] | 0.19375 | -9 |  | 1: -8.1818
80% | 21 | 21 | [5 empty] | 0.2 | -10 |  | 1: -9.0909
82.5% | 21.5 | 21.5 | [5 empty] | 0.20625 | -11 |  | 1: -10
85% | 22 | 22 | [5 empty] | 0.2125 | -12 |  | 1: -10.9091
87.5% | 22.5 | 22.5 | [5 empty] | 0.21875 | -13 |  | 1: -11.8182
90% | 23 | 23 | [5 empty] | 0.225 | -14 |  | 1: -12.7273
92.5% | 23.5 | 23.5 | [5 empty] | 0.23125 | -15 |  | 1: -13.6364
95% | 24 | 24 | [5 empty] | 0.2375 | -16 |  | 1: -14.5455
97.5% | 24.5 | 24.5 | [5 empty] | 0.24375 | -17 |  | 1: -15.4545
100% | 25 | 25 | [5 empty] | 0.25 | -18 |  | 1: -16.3636
[8 empty] | 0 | 22 |  | 1: 20
[8 empty] | 0 | 22 |  | 1: 20
OFFICE rating tool
ENE-1 score
| 1 | 0 |  |  |  | 0.25 |  | 1
| 2 | 0 |  |  |  | 0.5 |  | 3.6667
| 3 | 0 |  |  |  | 0.75 |  | 6.3333
| 4 | 0 |  |  |  | 1 |  | 9
| 5 | 2 |  |  |  | 1.25 |  | 11.6667
| 6 | 5 |  |  |  | 1.5 |  | 14.3333
| 7 | 10 |  |  |  | 1.75 |  | 17
| 8 | 15 |  |  |  | 2 |  | 19.6667
| 9 | 20 |  |  |  | 2.25 |  | 22.3333
| 10 | 25 |  |  |  | 2.5 |  | 25
Compliance path | Score
GBCSA Office benchmarking tool | #N/A
SANS Benchmarking | #N/A
Comparable Buildings | #DIV/0!
Historical data from own building | 0