## Changelog
Change Log:
Reissue Date | Changes
2014-08-26 | #DIV/0 errors in SANS input sheet corrected.
2014-11-24 | Cells locked on SANS input sheet.

## Tool Navigation
GBCSA - Existing Building Performance Rating Tool
ENE-2 PEAK ELECTRICITY DEMAND
Tool Navigation
This is the ENE-2 PEAK ELECTRICITY DEMAND calculator tool for existing building performance rating.
F

## Tool (hidden)
GBCSA - Existing Building Performance Rating Tool
ENE-1 Energy Consumption (GHGE) Tool
Building Details | Energy Usage Inputs
Street Address | Number of occupants
Suburb
City
Province
Postal Code
Building Metrics
GLA
Occupancy Hours (per week)

## Compliance path
GBCSA - Existing Building Performance Rating Tool
ENE-2 PEAK ELECTRICITY DEMAND
Performance rating tool - compliance paths
Click corresponding shaded icon to select compliance path
Calculator
Baseline
SANS Benchmarks?
Historical Data
Calculator
Score
Score
N
Y
Y
Calculator

## Building Zone Breakdown (hidden)
GBCSA - Existing Building Performance Rating Tool
ENE-1 Energy Consumption (GHGE) Tool
Month | Zone Description | Description of area | Floor area (m²) | Annual vacancy (days) | Weekly operatinghours | Number of occupants | Number of computers | Energy source | Unit (kWh) | Fuel Factor
1
2
3
4
5
6
7
8
9
10
11
12

## ENE-2 SANS Input sheet
GBCSA - Existing Building Performance Rating Tool
ENE-2 PEAK ELECTRICITY DEMAND
Input Sheet - Complete Grey Cells
Building Details
Street Address |  |  | Building Type
Classification of occupancy of building
Climatic zone
Suburb |  |  | SANS Benchmark
City
Province
Postal Code
Building Metrics |  |  | Annual Consumption Baseline of Building
Building construction date
GLA (m²) |  |  | VA/m² |  |  | SCORE | #N/A
|  |  | % Improvement | #N/A
#N/A
|  |  | Period 1 AVG | #DIV/0! |  |  |  | #DIV/0!
|  |  | Period 2 AVG | #DIV/0! |  |  |  | #DIV/0!
|  |  | Period 3 AVG | #DIV/0! |  |  |  | #DIV/0! |  | %
|  |  | Baseline (kVA) | #DIV/0! |  |  |  | 0
Peak Electricity Demand Baseline
Period 1 | Description | Start date | End date | Occupany % | Unit | Consumption | Normalised Consumption |  | SANS benchmark
1 |  |  |  |  | kVA |  | #DIV/0! |  | #VALUE!
2 |  |  |  |  | kVA |  | #DIV/0! |  | #VALUE!
3 |  |  |  |  | kVA |  | #DIV/0! |  | #VALUE!
4 |  |  |  |  | kVA |  | #DIV/0! |  | #VALUE!
5 |  |  |  |  | kVA |  | #DIV/0! |  | #VALUE!
6 |  |  |  |  | kVA |  | #DIV/0! |  | #VALUE!
7 |  |  |  |  | kVA |  | #DIV/0! |  | #VALUE!
8 |  |  |  |  | kVA |  | #DIV/0! |  | #VALUE!
9 |  |  |  |  | kVA |  | #DIV/0! |  | #VALUE!
10 |  |  |  |  | kVA |  | #DIV/0! |  | #VALUE!
11 |  |  |  |  | kVA |  | #DIV/0! |  | #VALUE!
12 |  |  |  |  | kVA |  | #DIV/0! |  | #VALUE!
Period 2 | Description | Start date | End date | Occupany % | Unit | Consumption | Normalised Consumption
1 |  |  |  |  | kVA |  | #DIV/0!
2 |  |  |  |  | kVA |  | #DIV/0!
3 |  |  |  |  | kVA |  | #DIV/0!
4 |  |  |  |  | kVA |  | #DIV/0!
5 |  |  |  |  | kVA |  | #DIV/0!
6 |  |  |  |  | kVA |  | #DIV/0!
7 |  |  |  |  | kVA |  | #DIV/0!
8 |  |  |  |  | kVA |  | #DIV/0!
9 |  |  |  |  | kVA |  | #DIV/0!
10 |  |  |  |  | kVA |  | #DIV/0!
11 |  |  |  |  | kVA |  | #DIV/0!
12 |  |  |  |  | kVA |  | #DIV/0!
Period 3 | Description | Start date | End date | Occupany % | Unit | Consumption | Normalised Consumption
1 |  |  |  |  | kVA |  | #DIV/0!
2 |  |  |  |  | kVA |  | #DIV/0!
3 |  |  |  |  | kVA |  | #DIV/0!
4 |  |  |  |  | kVA |  | #DIV/0!
5 |  |  |  |  | kVA |  | #DIV/0!
6 |  |  |  |  | kVA |  | #DIV/0!
7 |  |  |  |  | kVA |  | #DIV/0!
8 |  |  |  |  | kVA |  | #DIV/0!
9 |  |  |  |  | kVA |  | #DIV/0!
10 |  |  |  |  | kVA |  | #DIV/0!
11 |  |  |  |  | kVA |  | #DIV/0!
12 |  |  |  |  | kVA |  | #DIV/0!
Back to compliance path

## Climatic zone
GBCSA - Existing Building Performance Rating Tool
ENE-1 Energy Consumption (GHGE) Tool
Climatic Zone
BACK TO SANS

## ENE-2 Historical Data Input
GBCSA - Existing Building Performance Rating Tool
ENE-2 PEAK ELECTRICITY DEMAND
Input Sheet - Complete Grey Cells
Building Details
Street Address |  |  | Building Type
Classification of occupancy of building
Climatic zone
Suburb |  |  | SANS Benchmark | #N/A
City
Province
Postal Code
Building Metrics |  |  | Annual Consumption Baseline of Building
Building construction date
GLA (m²) |  |  | VA/m² |  |  | SCORE | #DIV/0!
|  |  | Period 1 % Improvement over baseline | #DIV/0!
#DIV/0!
[5 empty] | Peak annual demand | % difference |  |  | #DIV/0!
|  |  | Period 1 AVG | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | Period 2 AVG | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0!
|  |  | Period 3 AVG | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | %
|  |  | Baseline | #DIV/0! |  |  |  | #DIV/0!
Peak Electricity Demand Baseline
Period 1 (Current) | Description | Start date | End date | Occupany % | Unit | Consumption | Normalised Consumption |  | SANS benchmark
1 |  |  |  |  | kVA |  | #DIV/0! |  | #N/A
2 |  |  |  |  | kVA |  | #DIV/0! |  | #N/A
3 |  |  |  |  | kVA |  | #DIV/0! |  | #N/A
4 |  |  |  |  | kVA |  | #DIV/0! |  | #N/A
5 |  |  |  |  | kVA |  | #DIV/0! |  | #N/A
6 |  |  |  |  | kVA |  | #DIV/0! |  | #N/A
7 |  |  |  |  | kVA |  | #DIV/0! |  | #N/A
8 |  |  |  |  | kVA |  | #DIV/0! |  | #N/A
9 |  |  |  |  | kVA |  | #DIV/0! |  | #N/A
10 |  |  |  |  | kVA |  | #DIV/0! |  | #N/A
11 |  |  |  |  | kVA |  | #DIV/0! |  | #N/A
12 |  |  |  |  | kVA |  | #DIV/0! |  | #N/A
Period 2 (Previous) | Description | Start date | End date | Occupany % | Unit | Consumption | Normalised Consumption
1 |  |  |  |  | kVA |  | #DIV/0!
2 |  |  |  |  | kVA |  | #DIV/0!
3 |  |  |  |  | kVA |  | #DIV/0!
4 |  |  |  |  | kVA |  | #DIV/0!
5 |  |  |  |  | kVA |  | #DIV/0!
6 |  |  |  |  | kVA |  | #DIV/0!
7 |  |  |  |  | kVA |  | #DIV/0!
8 |  |  |  |  | kVA |  | #DIV/0!
9 |  |  |  |  | kVA |  | #DIV/0!
10 |  |  |  |  | kVA |  | #DIV/0!
11 |  |  |  |  | kVA |  | #DIV/0!
12 |  |  |  |  | kVA |  | #DIV/0!
Period 3 (Past) | Description | Start date | End date | Occupany % | Unit | Consumption | Normalised Consumption
1 |  |  |  |  | kVA |  | #DIV/0!
2 |  |  |  |  | kVA |  | #DIV/0!
3 |  |  |  |  | kVA |  | #DIV/0!
4 |  |  |  |  | kVA |  | #DIV/0!
5 |  |  |  |  | kVA |  | #DIV/0!
6 |  |  |  |  | kVA |  | #DIV/0!
7 |  |  |  |  | kVA |  | #DIV/0!
8 |  |  |  |  | kVA |  | #DIV/0!
9 |  |  |  |  | kVA |  | #DIV/0!
10 |  |  |  |  | kVA |  | #DIV/0!
11 |  |  |  |  | kVA |  | #DIV/0!
12 |  |  |  |  | kVA |  | #DIV/0!
Back to compliance path

## Results
GBCSA - Existing Building Performance Rating Tool
ENE-2 PEAK ELECTRICITY DEMAND
RESULTS - Complete Grey Cells
Compliance path selected
Building Details
Street Address
Suburb
City | Results
Province | Peak Electricity demand
Postal Code
Building Metrics
Building construction date | ENE-2 Peak Electricity demand
GLA (m²)
Back to Compliance path tab

## Misc (hidden)
Energy source | Fual factor | kgCO2/kWh | Unit | convertion to kWh
Electricity | 1.2 |  | kWh | 1
Distillate Fuel (No1,2,4 fuel oil and diesel) | 0.27 |  | L | 11.69
Residual Fuel Oil (No5 and 6 fuel oil) |  |  | L | 11.69
LPG | 0.23 |  | GJ | 277.7778
Propane | 1 |  | GJ | 277.7778
Natural Gas | 0.03 |  | GJ | 277.7778
Bituminous Coal | 0.35 |  | Tonnes | 1162.2222
Sub-bituminous Coal | 0.35 |  | Tonnes | 1162.2222
SANS Building Types (kWh) | [8 empty] | SANS Building Types (kVA) MAX DEMAND
|  | 1 | 2 | 3 | 4 | 5 | 6 |  |  |  | 1 | 2 | 3 | 4 | 5 | 6
Entertainment and public assembly | A1 | 420 | 400 | 440 | 390 | 400 | 420 |  | Entertainment and public assembly | A1 | 85 | 80 | 90 | 80 | 80 | 85
Theatrical and indoor sport | A2 | 420 | 400 | 440 | 390 | 400 | 420 |  | Theatrical and indoor sport | A2 | 85 | 80 | 90 | 80 | 80 | 85
Places of instruction | A3 | 420 | 400 | 440 | 390 | 400 | 420 |  | Places of instruction | A3 | 80 | 75 | 85 | 75 | 75 | 80
Worship | A4 | 120 | 115 | 125 | 110 | 115 | 120 |  | Worship | A4 | 80 | 75 | 85 | 75 | 75 | 80
Large shop | F1 | 240 | 245 | 260 | 240 | 260 | 255 |  | Large shop | F1 | 90 | 85 | 95 | 85 | 85 | 90
Offices | G1 | 200 | 190 | 210 | 185 | 190 | 200 |  | Offices | G1 | 80 | 75 | 85 | 75 | 75 | 80
Hotel | H1 | 650 | 600 | 585 | 600 | 620 | 630 |  | Hotel | H1 | 90 | 85 | 95 | 85 | 85 | 90
No SANS Rating available | - | - | - | - | - | - | - |  | No SANS Rating available | - | bar: 1; 3 to 6
Climatic zone
1
2
3
4
5
6
Building construction date
Buildings built before November 2011
Buildings built after November 2011
SANS Score |  |  |  | MAX DEMAND
Percentage better than SANS Benchmark | Points achieved
| Buildings built before November 2011 | Buildings built after November 2011 | Percentage better than SANS Benchmark | Buildings built before November 2011 | Buildings built after November 2011
0 | 2 | 0 | 0 | 0.5 | 0 |  |  | 0 | 0 |  | 1: 0
5 | 3 | 2 | 5 | 1 | 0.5 |  |  | 1.25 | 1 |  | 1: 1.25
10 | 5 | 3 | 10 | 1.5 | 1 |  |  | 2.5 | 2 |  | 1: 2.5
15 | 7 | 4 | 15 | 1.5 | 1 |  |  | 3.75 | 3 |  | 1: 3.75
20 | 8 | 5 | 20 | 2 | 2 |  |  | 5 | 4 |  | 1: 5
25 | 9 | 6 | 25 | 2 | 2 |  |  | 6.25 | 5 |  | 1: 6.25
30 | 11 | 8 | 30 | 2 | 2 |  |  | 7.5 | 6 |  | 1: 7.5
35 | 12 | 9 | 35 | 2 | 2 |  |  | 8.75 | 7 |  | 1: 8.75
40 | 13 | 10 | 40 | 2 | 2 |  |  | 10 | 8 |  | 1: 10
45 | 14 | 11 | 45 | 2 | 2 |  |  | 11.25 | 9 |  | 1: 11.25
50 | 15 | 13 | 50 | 2 | 2 |  |  | 12.5 | 10 |  | 1: 12.5
55 | 16 | 14 | 55 | 2 | 2 |  |  | 13.75 | 13.75 |  | 1: 13.75
60 | 17 | 15 | 60 | 2 | 2 |  |  | 15 | 15 |  | 1: 15
65 | 18 | 16 | 65 | 2 | 2 |  |  | 16.25 | 16.25 |  | 1: 16.25
70 | 19 | 18 | 70 | 2 | 2 |  |  | 17.5 | 17.5 |  | 1: 17.5
75 | 20 | 19 | 75 | 2 | 2 |  |  | 18.75 | 18.75 |  | 1: 18.75
80 | 21 | 20 | 80 | 2 | 2 |  |  | 20 | 20 |  | 1: 20
85 | 22 | 21 | 85 | 2 | 2 |  |  | 21.25 | 21.25 |  | 1: 21.25
90 | 23 | 23 | 90 | 2 | 2 |  |  | 22.5 | 22.5 |  | 1: 22.5
95 | 24 | 24 | 95 | 2 | 2 |  |  | 23.75 | 23.75 |  | 1: 23.75
100 | 25 | 25 | 100 | 2 | 2 |  |  | 25 | 25 |  | 1: 25
Option 1&2
Percentage better than average | Points achieved
| Option 1 | Option 2
0 | 0 | 0 | [5 empty] | 0 | 0 |  | 1: 0
5 | 1.1 | 1 | [5 empty] | 1.25 | 1.1 | bar: 1
10 | 2.2 | 2 | [5 empty] | 2.5 | 2.2 |  | 1: 2
15 | 3.3 | 3 | [5 empty] | 3.75 | 3.3 |  | 1: 3
20 | 4.4 | 4 | [5 empty] | 5 | 4.4 |  | 1: 4
25 | 5.5 | 5 | [5 empty] | 6.25 | 5.5 |  | 1: 5
30 | 6.6 | 6 | [5 empty] | 7.5 | 6.6 |  | 1: 6
35 | 7.7 | 7 | [5 empty] | 8.75 | 7.7 |  | 1: 7
40 | 8.8 | 8 | [5 empty] | 10 | 8.8 |  | 1: 8
45 | 9.9 | 9 | [5 empty] | 11.25 | 9.9 |  | 1: 9
50 | 11 | 10 | [5 empty] | 12.5 | 11 |  | 1: 10
55 | 12.1 | 11 | [5 empty] | 13.75 | 12.1 |  | 1: 11
60 | 13.2 | 12 | [5 empty] | 15 | 13.2 |  | 1: 12
65 | 14.3 | 13 | [5 empty] | 16.25 | 14.3 |  | 1: 13
70 | 15.4 | 14 | [5 empty] | 17.5 | 15.4 |  | 1: 14
75 | 16.5 | 15 | [5 empty] | 18.75 | 16.5 |  | 1: 15
80 | 17.6 | 16 | [5 empty] | 20 | 17.6 |  | 1: 16
85 | 18.7 | 17 | [5 empty] | 21.25 | 18.7 |  | 1: 17
90 | 19.8 | 18 | [5 empty] | 22.5 | 19.8 |  | 1: 18
95 | 20.9 | 19 | [5 empty] | 23.75 | 20.9 |  | 1: 19
100 | 22 | 20 | [5 empty] | 25 | 22 |  | 1: 20
OFFICE rating tool
ENE-1 score
| 1 | 0 |  |  |  | 0.25 |  | 1
| 2 | 0 |  |  |  | 0.5 |  | 3.6667
| 3 | 0 |  |  |  | 0.75 |  | 6.3333
| 4 | 0 |  |  |  | 1 |  | 9
| 5 | 2 |  |  |  | 1.25 |  | 11.6667
| 6 | 5 |  |  |  | 1.5 |  | 14.3333
| 7 | 10 |  |  |  | 1.75 |  | 17
| 8 | 15 |  |  |  | 2 |  | 19.6667
| 9 | 20 |  |  |  | 2.25 |  | 22.3333
| 10 | 25 |  |  |  | 2.5 |  | 25
Compliance path | Score | VA/m2
SANS Benchmarking | #N/A
Historical data from own building | #DIV/0!